Label-free detection of charged macromolecules with field-effect devices: Possible mechanisms of signal generation

Arshak Poghossian

Institute of Nano- and Biotechnologies (INB), Aachen University of Applied Sciences, 52428 Jülich, Germany

Institute of Bio- and Nanosystems, Research Centre Jülich GmbH, 52425 Jülich, Germany

Abstract

A critical evaluation of the possibilities and limitations of the label-free detection of charged macromolecules by their intrinsic molecular charge by means of field-effect-based devices is discussed using DNA (desoxyribonucleic acid) and layer-by-layer adsorbed polyelectrolyte multilayers as a model system. In addition, an ion-concentration redistribution in the intermolecular spaces, changes in the persistence length of macromolecules, the ionization degree of the gate insulator surface, and   the effective impedance of the gate input will be discussed as possible sources of signal generation. The experimental results for field-effect capacitive EIS (electrolyte-insulator-semiconductor) sensors functionalised with DNA and polyelectrolytes will be presented.